[image: image1.jpg]


ORMSKIRK WEST END SCHOOL
Fire Safety Policy
Review and Evaluation 

This policy and procedure has been adopted following advice from an Accredited Fire Risk Assessor.  It will be reviewed every year.
Last review date: December 2024
This Review: June 2026
Next review date: Summer 2027 (or sooner if required)
Introduction and Aims
It is the overall aim of Ormskirk West End to minimise the risk of fire for all employees, pupils, contractors and visitors.  This will be achieved by ensuring precautions are taken to avoid the occurrence of fire and by ensuring that appropriate control measures and procedures are in place. 
Competent and Responsible Persons - Fire Safety 
Site Supervisor is the Competent Person for the school’s Fire Safety Arrangements, managing them on behalf of Headteacher who is the Responsible Person (as defined by the Fire Safety Order 2005). Site Supervisor co-ordinates the implementation of fire safety measures, staff fire training, and monitors the standard of fire precautions provided. Site Supervisor also ensures that a fire evacuation drill is undertaken each term; that fire action notices are up to date and that fire safety equipment is properly maintained.
As our premises are shared with other services, fire safety and emergency evacuation arrangements must be co-ordinated and information exchanged or produced jointly with the other occupiers. 

Responsible Person 

Head / Deputy
Competent Person 

Site Supervisor 
Fire Marshalls  

Teachers’ Assistants   / Office Staff / Site Supervisor
Calling the fire service
via Monitoring Station


Meeting the fire service 
Office Staff / Site Supervisor
The School Fire Evacuation Procedure 

Notices detailing the school fire evacuation procedure will be displayed at the entrance to each room and a “what to do in the event of fire” poster by each fire alarm call point.  All fire exit routes will be illustrated by clear signage with directional arrows. 
Responsibilities and Records
Responsibility of all School Staff 

All staff are responsible for maintaining a high standard of fire precautions in the areas under their control or influence.  In particular, staff should ensure that they are fully aware of the fire procedure.  They should ensure that door vision panels and fire exits are kept clear and fire doors are kept shut.  They should also ensure that pupils and/or visitors for whom they are responsible are familiar with the fire evacuation procedure. 

Appointment and Duties of Fire Marshals 

Teaching Assistants, Site Supervisor & Office Staff will act as fire marshals and these staff will have responsibility for ensuring that all areas of the school have been evacuated and that this is reported to the senior fire marshal in charge of the evacuation.  The senior fire marshals are Head/Deputy at the rear of the building and Office Staff/Site Supervisor at the front of the building.
Raising the alarm 

In the event of alarm failure a hand bell will be rung in order to raise the alarm. 

Calling the Fire and Rescue Service.

The fire alarm automatically goes through to a monitoring station, who call the school Keyholders to determine whether to alert the fire brigade. 
Records 

The following records will be kept by the Competent Person: 

· Fire alarm test (including fire shutter): date, call point and whether test was satisfactory. 

· Emergency lighting tests: date and whether test was satisfactory. 
· Fire exit doors: date and whether the test was satisfactory. 

· Fire evacuation drill: date of drill, details of time taken to evacuate, number of people involved and any adverse issues needing to be addressed (e.g. exits obstructed). 

· Fire safety training: Type and details of training (e.g. induction/refresher, e-learning). 
Maintenance of Fire Exit Doors, Shutters and Fire Equipment/Systems 

Fire extinguishers, fire alarm systems and emergency lighting are maintained by council-approved contractors. The Site Supervisor carries out the following additional tests:

Testing/Checks of equipment

Fire Alarm  

· Daily - Visual check of panel for fault indications. 

· Weekly - Test key operation of different call point each week in rotation. 

· Automatic shutters connected to the fire alarm - check weekly with the fire alarm to confirm that shutters release and close with the operation of the fire alarm. 

Emergency Lighting 

· Monthly - Operation of every test switch or circuit breaker to ensure that lights illuminate. 

Fire extinguishers, fire blankets etc

· Monthly - Check that seals are intact, equipment has not been removed or tampered with.
Fire Doors 

· Monthly - Check that doors are closing fully and, where fitted, latches are operating. 

Fire Exit Doors 

· Weekly - Check that doors are opening freely and that emergency exit fittings (e.g. fire bolts) are operating correctly. 

Corridors, Escape Routes and Fire Exit Doors 

· Daily - Upon opening-up of the building, first key-holder on site checks exit doors are unlocked and that escape routes are free of obstruction/combustible materials. 
· Daily - Upon locking-up of the building, all internal doors are to be closed for fire containment purposes.
Training and Information
All employees shall be provided with adequate fire safety information and training will be provided on induction and by periodic refresher for all staff.  All staff will have the fire procedure explained to them, together with information on the location of the fire alarm call points, the sound of the fire alarm and the location of the escape routes, final exits and assembly points (Appendix A).  A fire evacuation drill will be undertaken at least once per term.  The Competent Person will ensure:

· all staff are aware of fire safety and emergency evacuation procedure;
· regular fire drills are undertaken;

· all fire safety records are maintained and are available for inspection;

· a report is given to the Headteacher and Nursery Manager each term, which will in turn be included in a periodic report to the Governing Body. 
Induction Training

As part of their induction training, the Headteacher shall provide new employees on the day on which they commence work with information on the fire safety and emergency evacuation arrangements that apply to their workplace. 

This information shall include: -

· what to do if they discover a fire or hear the fire alarm, what the fire alarm sounds like, means of raising the alarm, locations of nearest fire alarm call point and nearest fire extinguisher;

· showing them the fire evacuation routes, emergency exits, means of operating any exit devices such as panic bars, and the fire assembly point;

· an explanation of the reporting arrangements in the event of a fire or drill including the name of the person he/she reports to at the assembly point and the name of the person designated senior fire marshals responsible for the evacuation of the premises;

· an explanation of the importance of keeping fire doors shut, escape routes clear of combustible materials, and good housekeeping etc. as detailed in duties of employees.

Refresher training

Managers shall bring to the attention of employees a copy of the emergency plan detailing the evacuation procedures for the premises.  They must ensure that employees under their control comply with the emergency fire evacuation procedures and fire precautions.  Fire instruction notices shall be prominently displayed. 
Visitors/Contractors and Lettings
All visitors must sign in and out of the premises by entering their names in the EntrySign system.  In the event of a fire evacuation the person hosting the visitors are responsible for escorting them to the fire assembly area. 

Contractors must also sign in and out of the premises and shall be provided with fire evacuation procedure information as they commence work on site (Appendix B).  Contractors shall not commence any ‘hot’ work unless suitable and sufficient method statements, risk assessments and control measures to the satisfaction of the Competent Person (Fire) are in place. ‘Permits to work’ may be issued as appropriate (Appendix C).
Where Out of School Hours Events or External Lettings are organised outside normal school hours, or by outside organisations, it is the responsibility of the member of staff organising the event or arranging the letting to ensure that the appropriate precautions including arrangements for evacuation have been put in place.  The Competent Person may impose specific restrictions on the type of letting or activity the number of persons involved and the number and layout of any seating.  It is particularly important to consider whether a public entertainment licence will be needed for the events being organised. Where a licence is required, the licensing officer may specify particular requirements as a condition of the licence and these conditions will have to be met.
Guidance documents:

HM Government Guide. Fire safety Risk Assessment - Educational Premises

http://www.communities.gov.uk/documents/fire/pdf/150865.pdf 
The Regulatory Reform (Fire Safety) Order 2005: 

http://www.legislation.gov.uk/uksi/2005/1541/contents/made 
Fire Marshal Duties
Teachers
· evacuate class taking register with you if you have it;

· once at evacuation point, count children and supporting adults and immediately notify senior fire marshal of any missing persons;

· take register to confirm and remain with class for further instructions;
Teaching Assistants
· Fetch any stragglers from areas around classroom (e.g. toilets) and rejoin the group 
Office Staff 
· Print entry-sign sheet, collect grab bag & registers
· Assist evacuation of non-classroom areas at front of building 
· Using Grab-Bag Roll Call Clipboard, take register of everyone in the Car Park assembly point
· liaise with Head/Deputy at field security fence and ensure everyone is accounted for.
· (if a fire drill, await confirmation that all are evacuated before silencing alarm)
· await arrival of fire service and direct them to the relevant area 
· make necessary phone calls to communicate incident via relevant channels. 
Head/Deputy 
· Assist evacuation of non-classroom areas at rear of building.
· liaise with Office staff at field security fence and obtain Roll Call clip-board.

· account for everyone and record pupils, staff & visitor numbers on clip-chart
· (if a fire drill, await confirmation that all are evacuated before silencing alarm)
· if a real fire, ensure all padlocks are opened ready for fire service

Appendix A 

Checklist for First Day Induction - Fire Safety Instructions 
Take the new starter through the fire safety procedure as displayed at the fire alarm call points, in particular: 
· Show them the location of the fire alarm call points and describe the way they operate. 
· Emphasise that the first action on discovering a fire is to raise the alarm even if the fire is small. 
· Describe the sound of the fire alarm and the action to be taken when it sounds, in particular leaving the building with any pupils for which the staff member is responsible and going to the assembly point.   
· Describe and walk the escape routes and alternative escape routes that the member of staff is likely to need to use and show the operation of any push bars or exit fittings. 
· Show the new member of staff the location of the fire extinguishers, but emphasise they should only be used if the staff member has been previously trained, if it is safe to do so and the alarm has been raised first and after an evacuation has been started. 
· Show them the Fire Safety Policy, so they can familiarise with the various roles.

Appendix B 

Checklist for persons hiring the school premises 

Take the hirer through the fire safety procedure as displayed in each room and at the fire alarm call points, in particular: 

· Show them the location of the fire alarm call points and describe the way they operate. Emphasise that the first action on discovering a fire is to raise the alarm even if the fire is small. 
· Describe the sound of the fire alarm and the action to be taken when it sounds, in particular leaving the building with any persons for whom the hirer is responsible and going to the assembly point. 
· Explain how the fire service are automatically called out if the alarm is activated. 
· Describe and walk the escape routes and alternative escape routes that the hirer is likely to need to use and show the operation of any push bars or exit fittings. 

· Show the hirer the location of the fire extinguishers, but emphasise they should only be used if he/she has been previously trained, if it is safe to do so and the alarm has been raised first and after an evacuation has commenced. 
· State how no one is to re-enter the building until told it is safe to do so by either senior fire marshal or fire service.

Appendix C
Page 1 of 2

HOT WORK PERMIT 

For BLOWLAMPS, CUTTING & WELDING or other HEAT PRODUCING EQUIPMENT 

IMPORTANT: 

Precautions on page two must be adhered to without fail 

DATE:……………………………………………………………………………. 

BUILDING: ……………………………… FLOOR: …………………………... 

WORK INVOLVED:…………………………………………………………… 

………………………………………………………………………………………………

………………………………………………………………………………………………

……………………………………………………………… 

The location where this work is to be done has been examined, necessary precautions (as per page 2) taken and permission has been granted for this work. 

This Permit Expires ……………………………………………………………… 

Time Commenced ………………………Completed …………………………… 

Signed…………………………………………………………………………….. 

(Individual responsible for authorising hot work) 

FINAL CHECK-UP 
Work area and all adjacent areas to which sparks and heat might have spread (including floors above and below and on the other side of walls), were inspected 30 and 60 minutes after the work was completed and were found fire-safe. 

Signed…………………………………………………………………………….. 

Supervisor 

PREVENT FIRES                         Appendix C
Prior to approving any hot work, the fire safety Supervisor or his appointee shall inspect the work area and confirm that precautions as listed below have been taken to prevent fire. 

Check each item carefully 
PRECAUTIONS 
· Sprinklers and other Fire Fighting Systems and Equipment in service where possible 

· Hot Work Equipment is in good condition 

· Gas containers/flammable liquid containers to be changed/filled in the open 

WITHIN 15 METRES OF WORK 
· Floors swept clean of combustibles and wetted down or covered with non combustible material where necessary 

· Combustible materials, hazardous or flammable liquids have been removed or are protected with non combustible curtains or sheets 

· Non combustible covers suspended beneath work to collect sparks 

WORK ON WALLS OR CEILINGS 
· Any combustible material has been protected against sparks or heat 

· Combustibles moved away from other side of walls and away from metal through which heat can be transferred 

WORK ON ENCLOSED EQUIPMENT 
(Tanks, containers, ducts, dust collectors etc.) 

· Equipment cleaned of all combustibles and dust 

· Containers purged of flammable liquids and vapours 

FIRE WATCH 
· To be provided during and 30 minutes after operation 

· Supplied with extinguishers and/or hose reel 

· Trained in use of fire fighting equipment and in sounding the fire alarm 

FINAL CHECK UP 
· To be made 60 minutes after completion of any operation 

Signed…………………………………………………………………………….. 

(Supervisor)
�








